## Water Supply
Vulnerability Number | Vulnerability | Action Number | Action | Action Type | Process | Possible Actors
WS1 | GOV1: Water suppliers that rely on others for source water and have systems that are interconnected will need to work collaboratively to adapt to sea level rise and develop emergency contingencies between systems to respond to flooding impacts. | WS1.1 | Consolidate management of interconnected water supplies either by creating a single entity or establishing inter-agency agreements to guide capital investment, management, and operations decisions | Coordination, Policy Development | Long-range Planning, New Initiative | City of Martinez, CCWD, EBMUD
|  | WS1.2 | Develop or update Continuity of Operations Plans between interconnected water suppliers that identifies how systems will be operated during current and future flood event to reduce or avoid disruptions in customer water service | Program/operation | Emergency and Hazard Planning, Operations | City of Martinez, CCWD, EBMUD
WS2 | GOV2: Water systems that are protected from sea level rise or storm events by assets or lands owned by others will need to engage in collaborative planning to find shared, multi-benefit solutions that protect water supplies as well as other community assets or infrastructure. | WS2.1 | Improve communication and coordination between those that own and manage the shoreline (levees, marsh, beach) and those that own and manage the assets that are protected by these shorelines | Coordination | New Initiative | City of Martinez, CCWD, EBMUD, EBRPD, SCC, DFW, BCDC, RWQCB, USACE, USFWS, FEMA, City, County, Private entities
|  | WS1.2 | Expand or form partnerships among agencies, organizations and community members to facilitate decision-making regarding shoreline improvements and new investments | Coordination, Program/operation | New Initiative | City of Martinez, CCWD, EBMUDs, EBRPD, SCC, DFW, BCDC, RWQCB, USACE, USFWS, FEMA, City, County, CBOs, Private entities
WS3 | FUNC: Water supply agencies rely on chemicals for treatment, power to run the facilities, and road access to maintain their assets and ensure workers can reach them. If flooding impacts power supplies or the roads and highway system that provide access to and from water supply facilities, the ability to provide continuous water service may be interrupted. | WS3.1 | Conduct a "hot spot" assessment to identify and evaluate vulnerable local and regional routes and nodes that are critical to maintaining water supply treatment and distribution systems and ensuring employees can access job sites | Evaluation | Emergency and Hazard Planning, New Initiative | BCDC, MTC, Caltrans, County, Cities, CCTA, CCWD, EBMUD
|  | WS3.2 | Establish on-site backup power generation capacity, e.g., obtain portable backup power generators and necessary fuel supplies | Program/operation | Emergency and Hazard Planning | City of Martinez, CCWD, EBMUD, Cities, County
|  | WS3.3 | Prepare for power outages by stockpiling materials, establishing turn-key agreements for equipment rental, or pre-positioning rented emergency power generation capacity and fuel | Program/operation | Emergency and Hazard Planning | City of Martinez, CCWD, EBMUD, Cities, County
WS4 | PHYS1: Water supply pipelines and aqueducts located in predominantly low strength bay muds, loose sandy soils or filled land that are exposed to sea level or groundwater rise may be at increased risk of damage during a seismic event due to increased liquefaction susceptibility | WS4.1 | Increase inspection and maintenance of infrastructure that is sensitive to groundwater or are located in soils that are susceptible to liquefaction in area at risk from sea level rise | Program/operation | Operations | City of Martinez, CCWD, EBMUD
|  | WS4.2 | Review and update standards, codes, and regulations for the construction and placement of water supply infrastructure to avoid or address sea level rise impacts on and elevated groundwater and liquefaction susceptibility | Policy Development | Codes and Standards | City of Martinez, CCWD, EBMUD, Cities, County, RWQCB, SWCB
WS5 | PHYS2: Floodwaters as well as rising groundwater will increase the potential that pipelines become buoyant and float, making them susceptible to damage and increasing the need for maintenance, repair, and replacement. | WS5.1 | Monitor groundwater near vulnerable infrastructure by leveraging existing data or collecting site-specific data as necessary | Program/operation | Operations, New Initiative | City of Martinez, CCWD, EBMUD
|  | WS5.2 | Increase inspection and maintenance of water supply pipelines and other infrastructure in areas at risk from rising groundwater levels and current of future flooding in advance of storm events | Program/operation | Operations | City of Martinez, CCWD, EBMUD
|  | WS5.3 | Review and update standards, codes, and regulations for the construction and placement of water supply pipelines and other infrastructure to avoid or address sea level rise, storm event flooding and rising groundwater levels | Policy Development | Codes and Standards | City of Martinez, CCWD, EBMUD, Cities, County, RWQCB, SWCB
WS6 | PHYS3: As sea level rises, the Delta will get increasingly saline, which will impact the availability of fresh water sources used by Bay Area communities and beyond. | WS6.1 | Require new development and redevelopment to reduce water usage through increased conservation | Policy Development | Long-range Planning, Codes and Standards | State, Counties, Cities, Special districts
|  | WS6.2 | Add redundancy or increase capacity in other water supplies to offset changes in Delta salinity | Program/operation | Long-range Planning, Capital Planning, Project Planning and Design | State, Counties, Cities, Special districts

## Wastewater Services
Vulnerability Number | Vulnerability | Action Number | Action | Action Type | Process | Possible Actors
WW1 | GOV1: Wastewater agencies collaborate with other entities to treat and discharge wastewater collected in their respective service areas and will therefore need to collaborate on funding, planning, and decision-making to avoid system-wide failures. | WW1.1 | Consolidate management of interconnected wastewater collection, treatment and discharge systems either by creating a single entity or establishing inter-agency agreements to guide capital investment, management, and operations decisions | Coordination, Policy Development | Long-range Planning, New Initiative | Wastewater utilities, Special Districts, Cities, County, RWQCB
|  | WW1.2 | Develop or update Continuity of Operations Plans between interconnected wastewater collection, treatment and discharge systems that identifies how systems will be operated during current and future flood event to reduce or avoid disruptions in customer water service | Program/operation | Emergency and Hazard Planning, Operations | Wastewater utilities, Special Districts, Cities, County, RWQCB, CalOES, FEMA
WW2 | GOV2: Wastewater infrastructure is interconnected to, and affected by, other systems and assets (e.g., stormwater contributes to wet weather flows to wastewater treatment plants) that are owned and managed by different public and private entities. The process and relationships may not be in place to support the coordination and collaboration that will be needed to address these shared vulnerabilities. | WW2.1 | Coordinate with owners and operators of interdependent infrastructure to articulate and advocate for shared objectives (e.g., reducing runoff through low impact development (LID), addressing wet weather flows), and to develop frameworks for decision-making and funding related to infrastructure maintenance and new investments | Coordination, Policy Development | Long-range Planning, New Initiative | Wastewater utilities, Special Districts, Cities, County
|  | WW2.2 | Establish inter-agency mutual aid agreements to provide assistance with inspection and repair of damaged or compromised facilities, and mobile or alternative facilities (e.g., portable pumps, generators) during emergency response and recovery | Coordination | Long-range Planning, Emergency and Hazard Planning | Wastewater utilities, Special Districts, Cities, County, RWQCB, CalOES, FEMA
WW3 | GOV3: Directing resources to long-term planning to address the risks posed by sea level rise may not be a priority given existing capital demands. The majority of the wastewater plants have collection systems, which consist of aging infrastructure with numerous pipe segments in need of repair or replacement in the short term. | WW3.1 | Improve communication and education across all departments about the social, environmental and economic costs of sea level rise on infrastructure maintenance and the abiltiy to provide uninterupted services and meet regulatory discharge requirements | Program/operation | Long-range Planning, Operations, New Initiative | Wastewater utilities, Special Districts, Cities, County
|  | WW3.2 | Develop policies or incentives to require or encourage the consideration of sea level rise and storm events in developing, permitting and funding wastewater conveyance, treatment and discharge capital investments and infrastructure improvements | Policy Development | Long-range Planning, Land Use Planning, Capital Planning, Codes and Standards | BCDC, RWQCB, USEPA, FEMA, Caltrans, County, Cities, Special Districts, Wastewater utilities
WW4 | FUNC: Wastewater treatment systems are large, expensive, and complex, and there is little to no redundancy within each system, making them highly vulnerable to sea level rise and storm events. | WW4.1 | Add redundancy to increase the capacity to re-route around compromised wastewater system components | Program/operation | Long-range Planning, Capital Planning, Project Planning and Design | Wastewater utilities, Special Districts, Cities, County
|  | WW4.2 | Institute operational changes to reduce system complexity, eliminate key vulnerable components, or minimize cost to maintain and repair the system | Program/operation, Policy Development | Operations, Codes and Standards | Wastewater utilities, Special Districts, Cities, County
|  | WW4.3 | Redesign or relocate wastewater treatment systems to areas not at risk using alternative strategies such as distributed wastewater treatment networks | Program/operation | Long-range Planning, Capital Planning, Project Planning and Design, New Initiative | Wastewater utilities, Special Districts, Cities, County, RWQCB, USEPA, BCDC
WW5 | FUNC2: Storm events and extreme high tides have the potential to reduce outfall and diffuser capacity and exacerbate wet weather flows. Existing capacity limitations will be further reduced as sea levels rise, which would have consequences on how wastewater treatment plants handle wet weather flows and may threaten the overall performance of their respective systems. | WW5.1 | Identify stormwater and flood control system components that have insufficient capacity to accommodate sea level and groundwater rise, e.g., existing pipe and channel sizes, outfall elevations, etc. | Evaluation | Long-range Planning, New Initiative | Wastewater utilities, Special Districts, Cities, County
|  | WW5.2 | Increase system capacity by increasing pipe size, installing backflow prevention devices, elevating outfalls, installing forced mains, installing new pump stations, or increasing existing pump station capacity | Program/operation | Long-range Planning, Capital Planning, Project Planning and Design | Wastewater utilities, Special Districts, Cities, County
WW6 | FUNC3: Wastewater service providers rely on road access to maintain their infrastructure and facilities, obtain necessary supplies and equipment, and ensure employees can reach work sites. If flooding impacts the roads and highway system that provide access to and from wastewater facilities, the ability to provide continuous service may be interrupted. | WW6.1 | Conduct a "hot spot" assessment to identify and evaluate vulnerable local and regional routes and nodes that are critical to maintaining wastewater collection, treatment and discharge systems and ensuring employees can access job sites | Evaluation | Emergency and Hazard Planning, New Initiative | BCDC, MTC, Caltrans, County, Cities, CCTA, Wastewater utilities, Special districts
|  | WW6.2 | Expand or form broad public-private partnerships to guide the planning and implementation of multi-objective transportation and goods movment improvements to ensure existing infrastructure and new investments are resilient to sea level rise impacts | Coordination | Long-range Planning, New Initiative | BCDC, MTC, Caltrans, County, Cities, CCTA, UPRR, BNSF, private entities
|  | WW6.3 | Prepare for power outages by stockpiling materials, establishing turn-key agreements for equipment rental, or pre-positioning rented emergency power generation capacity and fuel | Program/operation | Emergency and Hazard Planning | City of Martinez, CCWD, EBMUD, Cities, County
WW7 | PHYS1: The wastewater treatment plants adjacent to the San Francisco Bay are located on predominantly low soil strength bay muds and artificial fill and could be subjected to greater risk of liquefaction during a seismic event due to a high groundwater table. | WW7.1 | Increase inspection and maintenance of infrastructure located in soils that are susceptible to liquefaction in area at risk from sea level rise before storm events and after extreme tides occur | Program/operation | Operations | Wastewater utilities, Special Districts, Cities, County, Private entities
|  | WW7.2 | Review and update standards, codes, and regulations for the construction and placement of wastewater infrastructure to avoid or address sea level rise impacts on liquefaction susceptibility | Policy Development | Codes and Standards | BCDC, RWQCB, USEPA, FEMA, Caltrans, County, Cities, Special Districts, Wastewater utilities
WW8 | PHYS2: Rising groundwater will increase the potential that interceptor pipelines will become buoyant and float, making them susceptible to damage that will increase the need for maintenance, repair, and replacement. | WW8.1 | Monitor groundwater near vulnerable infrastructure by leveraging existing data or collecting site-specific data as necessary | Program/operation | Operations, New Initiative | Wastewater utilities, Special Districts, Cities, County, Private entities
|  | WW8.2 | Increase inspection and maintenance of wastewater interceptor pipelines and other infrastructure that could become buoyant or float areas at risk of current of future flooding in advance of storm events and after extreme tide events | Program/operation | Operations | Wastewater utilities, Special Districts, Cities, County, Private entities
|  | WW8.3 | Review and update standards, codes, and regulations for the construction and placement of wastewater interceptor pipelines and other infrastructure in areas where groundwater levels are anticipated to change due to sea level rise | Policy Development | Codes and Standards | BCDC, RWQCB, USEPA, FEMA, Caltrans, County, Cities, Special Districts, Wastewater utilities
WW9 | PHYS3: Flooding can increase inflow from stormwater to interceptor pipelines through manholes and other structures, and higher groundwater conditions can increase infiltration into the system. These increases in wet weather flows will further limit the capacity to convey and treat wastewater prior to discharge or reclamation/recycling. | WW9.1 | Conduct watershed analyses to identify opportunity sites for green infrastructure or low impact development (LID) techniques to reduce stormwater infiltration and groundwater inflows into wastewater conveyance, treatment and discharge systems | Evaluation | Long-range Planning, New Initiative | Cities, County, Wastewater utilities, Special Districts, RWQCB, SCC, DFW, BCDC, SFEP, FEMA, CBOs, Private entities
WW10 | PHYS4: Wastewater treatment plants and effluent pump stations require an uninterrupted power supply to maintain function | WW10.1 | Establish on-site backup power generation capacity, e.g., obtain portable backup power generators and necessary fuel supplies | Program/operation | Emergency and Hazard Planning | Wastewater utilities, Special Districts, Cities, County
|  | WW10.2 | Prepare for power outages by stockpiling materials, establishing turn-key agreements for equipment rental, or pre-positioning rented emergency power generation capacity and fuel, or establishing a plans to deliver fuel to backup power generation systems | Program/operation | Emergency and Hazard Planning | Wastewater utilities, Special Districts, Cities, County
WW11 | PHYS5: If electrical and mechanical components, including pumps and control panels, are at or below grade and are not waterproofed or salt-resistant, they could be damaged and the treatment plant may not be able to fully function. | WW11.1 | Install manual, remote control, or automatic temporary barriers or waterproof closures to protect at- or below-grade critical electric and mechanical elements | Program/operation | Capital Planning, Operations, Project Planning and Design | Wastewater utilities, Special Districts, Cities, County
|  | WW11.2 | Construct permanent structures to protect at- or below-grade critical electric and mechanical elements | Program/operation | Capital Planning, Operations, Project Planning and Design | Wastewater utilities, Special Districts, Cities, County
|  | WW11.3 | Raise the elevation of at- or below-grade sensitive equipment, including critical electrical and mechanical elements | Program/operation | Capital Planning, Operations, Project Planning and Design | Wastewater utilities, Special Districts, Cities, County
|  | WW11.4 | Increase inspection and maintenance of infrastructure that is sensitive to water or salt in areas at risk from sea level rise, storm events, or elevated groundwater levels | Program/operation | Operations | Wastewater utilities, Special Districts, Cities, County

## Flood Control
Vulnerability Number | Vulnerability | Action Number | Action | Action Type | Process | Possible Actors
FC1 | INFO1: Furthermore, FEMA FIRMs depict riverine and coastal flooding as independent events and use the higher of the two flood elevations where riverine and coastal floodplains overlap. Joint probability analysis of riverine and coastal events will be necessary to understand the likely increases in elevation and extent of the 100-year floodplain as sea levels rise. | FC1.1 | Develop a process and approach for conducting joint probability analyses of riverine and coastal flood risk that will result in information communities need to prepare for future flood risks | Policy Development, Program/operation | Long-range Planning, Capital Planning, Project Planning and Design | BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, Private entities
|  | FC1.2 | Advocate for FEMA FIRMs to depict the current joint probability of riverine and coastal flooding and for non-regulartory products to depict the joint probability of future flooding as sea levels and precipitation patterns change | Coordination | New Initiative | NOAA, USGS, USACE, FEMA, OPR, DWR, ABAG, BCDC, SCC, RWQCB, CalOES, OPC, Cities, County, Flood Control Districts, Private entities
|  | FC1.3 | Advocate for the timely update of FEMA riverine and coastal flood maps to capture changes in sea levels, and for the continued access to FEMA data, studies and models that help inform future flood risks as sea level rises | Coordination | New Initiative | NOAA, USGS, USACE, FEMA, OPR, DWR, ABAG, BCDC, SCC, RWQCB, CalOES, OPC, OPR, Cities, County, Flood Control Districts, Private entities
FC2 | INFO2: The lack of up-to-date watershed-scale hydraulic models for the creeks and channels in the project area limits the understanding of current and future flood risks. These models are needed to evaluate various combinations of Bay water levels and sea level rise to determine the potential that combined coastal-riverine flooding will impact adjacent communities and infrastructure. | FC2.1 | Work with local, regional, state and federal partners to fund the development of new or update of existing watershed-scale hydraulic models for creeks and channels that serve as flood protection | Coordination, Program/operation | Operations, New Initiative | BCDC, ABAG, MTC, CalOES, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, Private entities
FC3 | GOV1: Flood managers from the county and the cities in the project area currently have to compete for grants to improve flood control channel condition and capacity. A reliable financing mechanism is needed to address outstanding maintenance, capital improvement, and long-range flood management planning. | FC3.1 | Expand or form partnerships among public and private entities to develop cost-sharing agreements for planning, implementing, and monitoring multi-objective flood control improvements and new investments | Coordination, Program/operation | Capital Planning, New Initiative | EBRPD, CCCFCWCD, SCC, DFW, BCDC, SFEP, RWQCB, USACE, USFWS, FEMA, CBOs, Private entities
|  | FC3.2 | Seek changes to state law to ensure that flood management services can be funded similar to how wastewater and water districts fund their infrastructure and services | Policy Development | New Initiative | BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, Private entities
|  | FC3.3 | Explore innovative financing options that public agencies can reliably use for outstanding maintenance, capital improvement, and long-range flood management planning | Policy Development | New Initiative | BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, Private entities
|  | FC3.4 | Develop a policy to first consider green intrastructure solutions before hard infrastructure solutions | Policy Development | New Initiative | BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, Private entities
FC4 | GOV2: Contra Costa County and cities have no dedicated funds for capital improvements or long-range flood management planning to address the impacts of sea level rise, or for flood mitigation actions such as purchasing properties in the existing 100-year floodplain as they become available. | FC4.1 | Develop and keep current a Local Hazard Mitigation Plan that describes the current and future flood risks, integrates local and regional sea level rise information, identifies options to mitigate these risks, and provides eligibility for state and federal emergency funds | Policy Development | Land Use Planning, Emergency and Hazard Planning | County, City, ABAG, BCDC, CalOES, FEMA
|  | FC4.2 | Seek changes to state law to ensure that flood management services can be funded similar to how wastewater and water districts fund their infrastructure and services | Policy Development | New Initiative | BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, Private entities
|  | FC4.3 | Create a program to purchase properties in the 100-year floodplain as they become available, prioritizing creek-side and shoreline parcels that can become part of an integrated shoreline protection system | Policy Development | Land Use Planning, Emergency and Hazard Planning | City, ABAG, BCDC, CalOES, FEMA
FC5 | GOV3: City and county flood managers do not have adequate maintenance funding to preserve what limited flood capacity exists in the channels they manage. For Pinole Creek the cities and county have developed a strategy for maintenance, capital improvements, and long-range flood management but have not yet been able to fund its implementation. | FC5.1 | Change state law so that flood management services can be funded similar to how wastewater and water districts fund their infrastructure and services | Policy Development | New Initiative | BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, Private entities
|  | FC5.2 | Explore innovative financing options that public agencies can reliably use for outstanding maintenance, capital improvement, and long-range flood management planning | Policy Development | New Initiative | BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, Private entities
FC6 | GOV4: Improvements to the five creeks that are federal facilities must be consistent with USACE policy to remain eligible for federal disaster relief. Current USACE policy prohibits vegetation on any part of flood control levees, which conflicts with original design criteria (e.g., for Wildcat and San Pablo Creeks) and make channel maintenance difficult. In addition, existing O&M Manuals that guides creek work do not reflect the existing channel sediment accumulations (e.g., Pinole Creek’s aggraded channel) and do not allow for restoration measures to help relieve these issues. | FC6.1 | Advocate for changes to the USACE polices governing operations and maintenance of federal flood management facilities to allow for, and encourage, green infrastructure solutions and adaptive management approaches to address current and future flood risk reduction deficits | Coordination, Policy Development | New Initiative, Codes and Standards | NOAA, USGS, USACE, FEMA, OPR, DWR, ABAG, BCDC, SCC, RWQCB, CalOES, OPC, OPR, Cities, County, Flood Control Districts, Private entities
|  | FC6.2 | Improve coordination among agencies that plan, fund and regulate federal flood management facilities to reduce programmatic and legislative barriers to maintaining and improving channel function to address current and future flood risks | Coordination, Program/operation | Capital Planning, Project Planning and Design | NOAA, USGS, USACE, FEMA, OPR, DWR, BCDC, SCC, RWQCB, CalOES, Cities, County, Flood Control Districts
FC7 | GOV5: For some of the creeks (Alhambra, Pinole), the Union Pacific Railroad (UPRR) bridges are the most significant hydraulic constriction, and the dimensions of these UPRR bridges affect future flooding. However, UPRR has not been an active stakeholder in flood management planning in the project area. | FC7.1 | Develop a working group of public agencies and private entities to collaboratively seek the participation of railroad owners in addressing current and future flood risk, advocate for railroad owners to engage in shared planning and decision making, and help ensure that rail capital improvements and investments improve upstream flood conditions | Coordination | Long-range Planning, New Initiative | MTC, BCDC, Caltrans, CCJPA, BART, CCTA, FRA, US DOT, UPR, BNSF, BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, private entities
FC8 | GOV6: At present, there is no framework for planning and permitting innovative, multi-benefit flood protection projects. Each agency is constrained by its mandate and regulations, resulting in generally static and fragmented decision-making, passive management, and an emphasis on historic preservation despite the fact that climate change is expected to lead to unforeseen and potentially detrimental impacts. Since flood risk management is a long-term investment, it can take decades to develop concepts, obtain funding, build public support, and design and permit plans before initiating a multi-phase project. | FC8.1 | Participate in collaborative regional discussions to explore what legal, policy or regulatory changes are needed to alllow innovative, multi-benefit flood management projects that address existing and future flood risks (e.g. CHARG, etc.) | Coordination, Policy Development | Codes and Standards, New Initiative | NOAA, USGS, USACE, FEMA, OPR, DWR, ABAG, BCDC, SCC, RWQCB, CalOES, OPC, OPR, Cities, County, Flood Control Districts, EBRPD, Private entities
|  | FC8.2 | Develop a decision-making framework for planning and implementing resilient, multi-benefit flood management projects that clearly weigh the trade-offs among short and long term impacts and benefits to the economy, environment and social equity | Policy Development | New Initiative | NOAA, USGS, USACE, FEMA, OPR, DWR, ABAG, BCDC, SCC, RWQCB, CalOES, OPC, OPR, Cities, County, Flood Control Districts, EBRPD, Private entities, SFEP
|  | FC8.3 | Improve coordination among regulatory and planning agencies to reduce programmatic/legislative barriers and to accelerate the testing and implementation of innovative, multi-benefit flood protection appoaches and projects | Coordination, Policy Development | New Initiative, Capital Planning, Project Planning and Design | NOAA, USGS, USACE, FEMA, OPR, DWR, ABAG, BCDC, SCC, RWQCB, CalOES, OPC, OPR, Cities, County, Flood Control Districts, EBRPD, Private entities, SFEP
FC9 | FUNC1: Creeks and channels provide flood protection to adjacent land uses, and sea level rise may diminish this function, exacerbating conditions in existing floodplains and causing new areas to be designated as floodplains. | FC9.1 | Develop and keep current a centralized asset management database that includes location, ownership, type, elevation and condition of natural and structural creek and channel banks | Program/operation | Operations, New Initiative | BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, Private entities
|  | FC9.2 | Improve communication and coordination between those that own and manage creeks and channels and those that own and manage the assets that are protected by them | Coordination | New Initiative | BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, EBRPD, CBOs, Private entities
|  | FC9.3 | Expand or form partnerships among agencies, organizations and community members to facilitate decision-making regarding multi-benefit, innovative flood protection improvements and new investments | Coordination, Program/operation | New Initiative | BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, EBRPD, CBOs, Private entities
FC10 | PHYS1: Sea level rise will increase tidal action and reduce the capacity of the eight major creeks in the project area to convey and discharge flood flows, particularly when rainfall events coincide with high tide. This may lead to overbank flooding or backwater affects if channel water levels are too high to allow stormwater to drain by gravity. | FC10.1 | Prioritize the inspection, maintenance, upgrade, and repair of flood management and stormwater infrastructure, including creek and channel banks and levees, drainage ditches, stormwater outfalls, pumps, etc | Program/operation | Capital Planning, Operations | Cities, County, CCCFCWCD, EBRPD, Private entities
|  | FC10.2 | Conduct watershed studies to identify opportunities to reduce stormwater discharges, e.g., by implementating low impact development practices, green infrastructure, infiltration, retention or groundwater recharge, upper watershed capture programs | Coordination, Policy Development | Long-range Planning, New Initiative | Cities, County, CCCFCWCD, Private entities
|  | FC10.3 | Explore increasing the height of creek and channel levees and banks, expanding natural creek floodplains, restoring channels to creeks, creek daylighting, and/or increasing channel capacity to reduce potential overtopping if technically feasible and if physical and environmental constraints allow | Program/operation | Capital Planning, Project Planning and Design | BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, EBRPD, CBOs, CCCFCWCD, Private entities
FC11 | PHYS2: There may be a limit to the efficacy of traditional engineering flood protection solutions in low-lying areas, at which point flood managers, planners, regulators, community groups, business owners and decision makers, among others, will need to leverage their collective expertise and resources to pursue land use planning solutions. | FC11.1 | Establish a working group of agencies and organizations, including community-based organizations and private landowners, to considers what changes in land use policies and practices are needed to protect natural and built areas when and where flood protection solutions are not effective | Coordination, Policy Development | New Initiative | NOAA, USGS, USACE, FEMA, OPR, DWR, ABAG, BCDC, SCC, RWQCB, CalOES, OPC, OPR, Cities, County, Flood Control Districts, EBRPD, Private entities, SFEP
|  | FC11.2 | Develop and implement a community outreach process to educate a broad audience including facility owners, asset managers, private business owners, and the general public on the risks, costs, and benefits of hazard reduction strategies in comparison to relocation of vulnerable land uses | Education/outreach | Emergency and Hazard Planning, New Initiative | FEMA, CalOES, ABAG, Cities, County, CCCFCWCD, CBOs, Private entities

## Stormwater
Vuln. Number | Vulnerability | Action Number | Action | Action Type | Process | Possible Actors
SW1 | INFO1: Studies to analyze stormwater system capacity to store and drain various combinations of future Bay water levels and precipitation events are needed to develop operational, maintenance and capital improvement plans to improve system resilience to sea levels rise. | SW1.1 | Develop new or improve existing watershed-specific hydraulic models to evaluate the capacity of the stormwater system to store and drain rainfall runoff as sea levels, groundwater and precipitation patterns change | Evaluation | Long-range Planning, Project Planning and Design | Cities, County, CCCFCWCD, RWQCB, USEPA
SW2 | INFO2: Information critical to evaluating the exposure of stormwater system components, such as outfall elevations and pipe capacity, is not readily available in GIS for all systems in the project area. | SW2.1 | Develop new or improve existing stormwater infrastructure databases or asset management systems to include the information needed to evaluate system vulnerability to sea level rise, e.g., pipe size and type, channel capacity and condtion, outfall location and elevations, etc. | Evaluation | Long-range Planning, Operations | Cities, County, CCCFCWCD, RWQCB, USEPA
|  | SW2.2 | Incentivize or require critical stormwater system information to be collected and made available in a geo-referenced or GIS format | Program/ operation | New Initiative, Operations | Cities, County, CCCFCWCD, RWQCB, USEPA
|  | SW2.3 | Adopt data management and sharing agreements among public and private stormwater infrastructure owners and managers to ensure complete, high quality, and accessible asset information is available for system vulnerability and risk assessments | Policy Development | New Initiative | Cities, County, CCCFCWCD, RWQCB, USEPA
SW3 | GOV1: City and county resources for stormwater management are strained to prevent stormwater pollution, protect local waterways, and preserve local environmental quality, leaving very limited or no resources to support the long-range planning necessary to address the impacts of sea level rise. | SW3.1 | Pursue IRWMP and other state/federal funding to support planning and implementation of multi-benefit stormwater management improvements that address existing stresors as well as the impacts of sea level rise | Program/operation | Capital Planning | Cities, County, CCCFCWCD, RWQCB, USEPA, DWR, NOAA
|  | SW3.2 | Change state law so that stormwater infrastructure and management services can be funded similar to how wastewater and water districts fund their infrastructure and services | Policy Development | New Initiative | BCDC, DWR, FEMA, USGS, NOAA, USACE, Cities, County, Flood Control Districts, Private entities
|  | SW3.3 | Investigate and pursue alternative funding mechanisms, e.g., taxes, fee-based mechanism, assessment districts, or leverage private sector resources to fund sea level rise planning efforts that focus on stormwater system vulnerabilities and consequences | Program/operation | Long-range Planning, New Initiative | Cities, County, CCCFCWCD, RWQCB, USEP, Private entities
SW4 | GOV2: The authority to raise taxes or fees to pay for stormwater management activities has been sharply constrained by voter initiatives, and most municipalities are unable to shift General Fund revenues to pay for stormwater activities. In addition, Contra Costa municipalities with a stormwater assessment have had level funding since 2009 even though NPDES permit compliance costs have increased. | SW4.1 | Advocate for changes in stormwater financing to improve local and regional capacity to plan and implement stormwater improvements to address changes in riverine and coastal flood risks | Policy Development | New Initiative | Cities, County, CCCFCWCD, RWQCB, SCC, DFW, BCDC, SFEP, FEMA, CBOs, Private entities
|  |  | Conduct public outreach to educate property owners about the importance of stormwater management and flood control so they support bond initiatives and increases in assessments for infrastructure repair and improvement | Education/outreach | New Initiative | Cities, County, CCCFCWCD, RWQCB, SCC, DFW, BCDC, SFEP, FEMA, CBOs, Private entities
SW5 | GOV3: An integrated planning, regulatory and funding framework for comprehensive, watershed and community-based stormwater and flood control management does not currently exist even though sea level rise impacts will increase the need for coordination and shared decision making among cities, property owners, and flood control managers. | SW5.1 | Conduct watershed analyses to identify opportunity sites for green infrastructure or low impact development (LID) techniques to improve stormwater system capacity to accommodate sea level and groundwater rise | Evaluation | Long-range Planning, New Initiative | Cities, County, CCCFCWCD, RWQCB, SCC, DFW, BCDC, SFEP, FEMA, CBOs, Private entities
|  | SW5.2 | Increase coordination and cooperation among owners and operators of interconnected stormwater infrastructure and develop decision-making frameworks so that maintenance improvements and new investments achieve shared flood management objectives | Coordination, Policy Development | Long-range Planning, New Initiative | Cities, County, CCCFCWCD, RWQCB, SCC, DFW, BCDC, SFEP, FEMA, CBOs, Private entities
|  | SW5.3 | Expand or form partnerships among public and private entities to facilitate cost-sharing for planning, implementing, and monitoring multi-benefit stormwater management improvements | Coordination, Program/operation | Capital Planning, New Initiative | Cities, County, CCCFCWCD, RWQCB, SCC, DFW, BCDC, SFEP, FEMA, CBOs, Private entities
SW6 | FUNC1: Stormwater system components that rely on gravity drainage are often at the lowest elevation in the system, and these low-lying areas could be at the highest risk of flooding. These components will not function at full capacity as Bay water levels rise, therefore flooding in these areas may last longer than expected. | SW6.1 | Monitor groundwater levels in low-lying areas by leveraging existing data or collecting site-specific data as necessary | Program/operation | Operations, New Initiative | Cities, County, CCCFCWCD, RWQCB, USEP, USGS, CalOES, FEMA
|  | SW6.2 | Increase inspection and maintenance of stormwater system components that serve low-lying areas, including those that rely on gravity drainage as well as pumping | Program/operation | Operations | Cities, County, CCCFCWCD, Private entities
|  | SW6.3 | Review and update standards, codes, and regulations for the construction and placement of stormwater infrastructure in low-lying areas to ensure they will maintain capacity as sea levels and groundwater rises | Policy Development | Codes and Standards | Cities, County, CCCFCWCD, RWQCB
SW7 | FUNC2: Pump stations rely on uninterrupted power to operate. While backup generators and onsite fuel storage can help avoid service disruption, the ability to resupply fuel and undertake necessary maintenance may be limited if the local streets and roads that provide access to the station are flooded. | SW7.1 | Establish inter-agency mutual aid agreements to provide assistance with portable battery back up power and fuel to maintain stormwater pump station operations during emergency response and recovery | Coordination | Emergency and Hazard Planning | Cities, County, RWQCB, CalOES, FEMA
|  | SW7.2 | Develop policies or incentives to encourage/require emergency response and contingency plans to consider how power and fuel (renewable if possible) necessary to maintain stormwater pump stations will be obtained given that many access routes and transportation modes may also be disrupted | Policy Development | Emergency and Hazard Planning | Cities, County, Private entities
|  | SW7.2 | Develop policies or incentives to encourage/require adequate backup power and fuel will be available to maintain stormwater pump operations, e.g., establish on-site power generators with sufficient fuel for several days, obtain portable backup power generators, or pre-position access through rental or leasing agreement | Policy Development, Program/operation | Operations, Codes and Standards | Cities, County, Private entities
SW8 | FUNC3: In areas that already require pumping to manage stormwater and control flooding, pumps will have to lift water above the new, elevated Bay water level, which may exceed system design capacity. | SW8.1 | Evaluate stormwater pump systems to determine if they have sufficient capacity to lift anticipated flows above future Bay water levels | Evaluation | Long-range Planning, New Initiative | Cities, County, CCCFCWCD, Private entities
|  | SW8.2 | Increase system capacity by installing backflow prevention devices, elevating outfalls, or increasing pump station capacity | Program/operation | Capital Planning, Project Planning and Design | Cities, County, CCCFCWCD, Private entities
|  | SW8.3 | Conduct watershed studies to identify opportunities to reduce anticipated flows through the implementation of low impact development practices, green infrastructure, or traditional stormwater detention or retention facilities | Coordination, Policy Development | Long-range Planning, New Initiative | Cities, County, CCCFCWCD, Private entities
SW9 | PHYS1: As sea level rises, the capacity of stormwater pipes may be insufficient to store both rainfall runoff and the Bay water that could enter pipes if outfalls are below the high tide or storm event water level and check valves are not in place to keep tidal flows out. | SW9.1 | Evaluate stormwater pipe systems to determine if they have sufficient capacity to store and convey anticipated rainfall runoff as Bay water levels rise | Evaluation | Long-range Planning, New Initiative | Cities, County, CCCFCWCD, Private entities, CalOES
|  | SW9.2 | Increase system capacity by increasing pipe sizes, installing backflow prevention devices, elevating outfalls or installing new pump stations | Program/operation | Capital Planning, Project Planning and Design | Cities, County, CCCFCWCD, Private entities
|  | SW9.3 | Conduct watershed studies to identify opportunities to reduce anticipated flows through the implementation of low impact development practices, green infrastructure, or traditional stormwater detention or retention facilities | Coordination, Policy Development | Long-range Planning, New Initiative | Cities, County, CCCFCWCD, Private entities
SW10 | PHYS2: As sea level rises, stormwater infrastructure such as pipes and pump stations that were not constructed for saline water conditions will suffer from corrosion if they are not improved or replaced. For example, corrugated metal pipes do not have as long a lifespan as other material types, and exposure to flooding or seawater could cause them to fail earlier than expected. | SW10.1 | Increase inspection and maintenance of stormwater infrastructure that is sensitive to salinity in areas at risk from sea level rise and storm events | Program/operation | Operations | Cities, County, CCCFCWCD, Private entities
|  | SW10.2 | Follow existing or develop new standards to ensure corrosion-resistant materials are used when installing new or upgrading existing stormwater infrastructure | Program/operation, Policy Development | Project Planning and Design, Codes and Standards | Cities, County, CCCFCWCD, Private entities
SW11 | PHYS3: Higher groundwater levels could impact stormwater management systems, in particular, pipe networks that are subject to infiltration, green infrastructure and low impact development practices, as well as traditional stormwater detention and retention facilities | SW11.1 | Monitor groundwater levels near vulnerable infrastructure by leveraging existing data or collecting site-specific data as necessary | Program/operation | Operations, New Initiative | Cities, County, CCCFCWCD, Private entities
|  | SW11.2 | Increase inspection and maintenance of stormwater infrastructure that is sensitive to groundwater levels in areas at risk from sea level rise | Program/operation | Operations | Cities, County, CCCFCWCD, Private entities
|  | SW11.3 | Review and update standards, codes, and regulations for the construction and placement of stormwater infrastructure in areas where sea level rise may cause elevated groundwater levels | Policy Development | Codes and Standards | Cities, County, CCCFCWCD, Private entities
SW12 | PHYS4: Pump stations that have sensitive electric or computerized components that are exposed to flooding could be temporarily interrupted or become permanently damaged, such as if corrosion due to saltwater exposure occurs. | SW12.1 | Install manual, remote control, or automatic temporary barriers or waterproof closures to protect at- or below-grade critical electric or computerized components | Program/operation | Capital Planning, Operations, Project Planning and Design | Cities, County, Private entities
|  | SW12.2 | Construct permanent structures to protect at- or below-grade critical electric or computerized components that are necessary for pump stations to remain operational | Program/operation | Capital Planning, Operations, Project Planning and Design | Cities, County, Private entities
|  | SW12.3 | Establish new design standards for electric or computerized pump station components to reduce the risk of flooding in areas that will be impacted by sea level rise | Policy Development | Codes and Standard | Cities, County, Private entities
SW13 | PHYS6: If pump stations operate more frequently, or pump water to higher elevations, energy and maintenance costs will increase, and pumps will not last as long. | SW13.1 | Budget for, and increase the inspection and maintenance of, pump stations in areas at risk from sea level rise, storm events and elevated groundwater levels | Program/operation | Operations | Cities, County, Private entities